List of required Works Execution Projects (WEP)

-WEP for platen superheater replacement;

-WEP for 1st stage gear box replacement;

-WEP for 2nd stage gear box replacement;

-WEP for water economizer replacement;

-WEP for steam line replacement;

-WEP for circulation water lines replacement;

-WEP for turbine overhaul;

-WEP for turbogenerator repair.

#### Technological and other normative documentation list

| № | Document name | Designation |
| --- | --- | --- |
|  | Boiler units |  |
| 1 | Boilers manufacture, erection and repair supervision instruction. | RD 10-23-98 |
| 2 | Welded connections. Steam and hot-water boilers, steam and hot water pipelines. General requirements. | RD 2730.940.102-92 |
| 3 | Guidelines. Steam and hot-water boilers. Steam and hot water pipelines. Vessels. Welded connections. Quality control. Ultrasonic inspection. Regulations. (ОП 501 ЦД-97) | RD 34.17.302-97 |
| 4 | Welding, thermal treatment and inspection during repair of boiler and steam line system welded connections in operating period. | RD 34-17.310-96 |
| 5 | Instructions for inspection and technology of high-pressure boiler drum repair. | СО 153-34.26.608-2003 |
| 6 | Methodical guideline for support-suspended system breaking-out during pipeline repair and support-suspended fastener system taking-over on completion of repair works. | RD 153-34.0-39.604-00 |
| 7 | Valves. Packing glands. Design and basic dimensions. Technical requirements. | RD 302-07-22-93 |
| 8 | Methodical guideline for heat-exchange equipment reagentless cleaning from deposits. | RD 153-34.1-37.410-00 СО 34.37.410-00 |
| 9 | High parameters valves repair manual. | RD 153-34.1-39.603-99 |
| 10 | General technical requirements for power station valves. (ОТТ ТЭС –2000) | RD 153-34.1-39.504-00 |
| 11 | Methodical guideline for corrosive damage degree determination of heat network pipeline metal. | RD 34.17.430-94 |
| 12 | Methodical guideline for heat power station in service pipelines arrangement. | RD 153-34.1-39.401-00 СО 34.39.401-00 |
| 13 | Typical instruction for inspection of metals and lifetime extension of heat power station boilers, turbines and pipelines main elements. | RD 10-577-03 |
| 14 | Methodical guideline for blind installation and removal on operating gas pipeline of power station and boiler house gas-supply systems. | СО 34.23.605-2005 |
| 15 | Methodical guideline for heat-and-power equipment preservation. | RD 34.20.591-97;(СО 34.20.591-97) |
| 16 | Typical insulation of equipment and power station pipelines. Overhaul Specification. | TU 34-38-20118-95 |
| 17 | Guidelines. Steam and hot-water boilers. Steam and hot water pipelines. Welding practice. Technical requirements. | RD 34.10.129-95 |
| 18 | Welding, heat treatment and inspection of boiler pipe systems and pipelines during power equipment mounting and repair. | RD 153-34.1-003-01(РТМ-1с) |
| 19 | Instruction on incoming inspection procedure of power equipment metal with pressure of 9 MPa and higher before putting into operation. | RD 34.17.401-95 (СО 34.17.401-95) |
| 20 | General requirements for application of new material made of thermo-expanded graphite for rotary pump shaft sealing. | RD 153-34.1-41.602-2002 |
| 21 | Welded connections. Heat power station equipment. Radiographic test. | RD 34.10068-91 |
| 22 | Unified methods of steeloscoping of elements and welds of power stations. | RD 34.10.122-94 |
| 23 | Instruction on operational inspection of mounting, welding and heat treatment processes. | RD 34.10.126-94 |
| 24 | Instruction on visual and measuring inspection. | RD 03-613-03 |
| 25 | Order of application of welding equipment during fabricating, mounting, repair and reconstruction of technical devices for dangerous production objects. | RD 03-615-03 |
| 26 | Instruction on prevention and elimination of accidents on heat power stations. | СО 153-34.20.562-2003 |
| 27 | Typical instruction on arrangement and carrying out of incoming inspection of power equipment and control means on power plants of Department of Energy USSR. | TI 34-70-064-87;(СО 153-34.15.401) |
| 28 | Requirements on structure and order of executive documentation keeping during construction, reconstruction, overhaul of capital construction objects and requirements on work examination certificates, constructions and technical procurement network sections. | RD-11-02-2006 |
| 29 | Order of keeping of main and/or special work execution log book during construction, reconstruction, overhaul of capital construction objects. | RD-11-05-2007 |
| 30 | Regulation of maintenance and repair arrangement of equipment, power stations and networks buildings. | СО 34.04.181-2003 |
|  | Turbo-units |  |
| 31 | Guideline on turbo-unit rotor balancing in own bearings. | СО 153-34.30.603 |
| 32 | Methodical guideline for checking and testing of automatic systems of control and protection of steam turbines. | MU 34-70-062-83 |
| 33 | Instruction on order of steam turbine rotor blade efficiency evaluation in process of manufacturing, operation and repair. | СО 153-34.1-17.642-00 |
| 34 | Defects correction in moulded housing elements of steam turbine and valves by welding without heat treatment. | RD 108.0210112-88 |
| 35 | Operating instruction on crude-oil turbine oils. | RD 34.43.102-96 СО 34.32.102-96 |
| 36 | Instruction on order of steam turbine rotor blade efficiency evaluation in process of manufacturing, operation and repair. | СО 153-34.17.462-2003 |
| 37 | Methodical guideline for power station steam turbine cylinder thermal expansion normalization. | RD 34.30.506-90 |
| 38 | Methodical guideline for shafting positioning determination of turbo-units. | RD 34.30.602 |
| 39 | Technological instruction on steam turbine rotor blade replacement. | RD 34.30.605 (СО 34.30.605) |
| 40 | Methodical guideline for turbo-units shafting supports positioning according to measured supporting loads. | RD 34.30.606-95 |
| 41 | Methodical guideline for setting-up of automatic regulators of power station turbine equipment. | RD 153-34.1-35.417-2001 |
| 42 | High pressure surface heaters for steam turbine regeneration system. Specification for overhaul repair. | TU 34-38-20092-94 |
| 43 | Low pressure surface heaters for steam turbine regeneration system. Specification for overhaul repair. | TU 34-38-20130-94 |
| 44 | Instruction on inspection of moulded housing parts of power station steam turbines before commencement of operation. | СО153-34.17.4020 |
| 45 | Typical instructions on flange connectors repair of high pressure heaters. |  |
|  | Electrical Equipment |  |
| 46 | Power oil transformers. Material consumption rate during repair. | СО 34.10.396-2005 |
| 47 | Typical technological instruction. Transformers of voltage class 35-220 KV with capacity up to 80 MV·А. Overhaul repair. | СО 34.46.604-2005 |
| 48 | Typical technological instruction. Repair methods of porcelain insulators of high voltage bushings. | СО 34.46.608-2005 |
| 49 | General purpose power oil transformers. General specification for overhaul repair. | СО 34-38020217-2005 |
| 50 | Power transformers. Repair. Windings. Manufacturing. Typical process. | RD 16 054-83 |
| 51 | Guideline. Power transformers. Transportation, unloading, storage, erection and start-up. | RD 16 363-87 |
| 52 | Scope and standards of electrical equipment testing. | RD 34.45-51.300-97 |
| 53 | Oil-filled bushings. General specification for overhaul repair. | TU 34-38-20121-87 |
| 54 | Direct current electrical machines. General specification for overhaul repair. | TU 34-38-20321-95 |
| 55 | Motors with voltage up to 1000 V and capacity from 0.1 to 100 KW. General specification for overhaul repair. | TU 34-38-20185-95 |
| 56 | Motors with voltage more than 1000 V and capacity from 100 KW and higher. General specification for overhaul repair. | TU 34-38-20186-95 |
| 57 | Motors squirrel-cage rotors with voltage more than 1000 V. General specifications for overhaul repair. | TU 34-38-20187-82 |
| 58 | Retaining ring billets made of nonmagnetic steel for turbogenerators with preliminary machining. Specification. | TU 24.00.3748-85 |
| 59 | Typical operating and repair instruction of contact rings block and brush apparatus of turbogenerators with capacity of 63 MW and higher. | RD 153-34.0-45.510-98 СО 34.45.510-98 |
| 60 | Instruction on overhaul repair of oil switch VMP-10P/630 | RD 34.47.613 (СО 153-34.47.613) |
| 61 | Typical operating instruction on gas-oil system of generators hydrogen cooling. | RD 153-34.0-45.512-97 |

### Technological processes

| 1 | Process documentation package for overhaul repair. |  |
| --- | --- | --- |
| 2 | Measurement charts package (repair forms) of heating surfaces and pipeline within the boiler. Album 1. Heating surfaces. |  |
| 3 | Measurement charts package (repair forms) of heating surfaces and pipeline within the boiler. Album 2. |  |
| 4 | Documentation package for overhaul repair process of pipeline within the boiler. Album 1. |  |
| 5 | Documentation package for overhaul repair process. Drum. Album 2. |  |
| 6 | Documentation package for overhaul repair process. Water economizer. Album 3. |  |
| 7 | Documentation package for overhaul repair process. Furnace waterwalls. Album 4. |  |
| 8 | Documentation package for overhaul repair process. Wall superheater. Album 5. |  |
| 9 | Documentation package for overhaul repair process. Ceiling superheater. Album 6. |  |
| 10 | Documentation package for overhaul repair process. Radiation and convection shields. Album 7. |  |
| 11 | Documentation package for overhaul repair process. 1st and 2nd stage convection superheater. Album 8. |  |
| 12 | Documentation package for overhaul repair process. Furnace plant. Album 9. |  |
| 13 | Documentation package for overhaul repair process. Boiler set. Album 10. |  |
| 14 | Documentation package for overhaul repair process of boiler unit TGM-84. Regenerative air heater RVP-54. Process documentation package 380091.01002.36020. |  |
| 15 | Typical process instruction. Examination and repair of turbine rotor couplers. |  |
| 16 | Typical process instruction. Turbo-unit rotor alignment. |  |

### Occupational safety

| № | Document name | Designation |
| --- | --- | --- |
| 1 | Interindustry operational safety regulations at electric and gas welding operations. | POT RM-020-2001 |
| 2 | Interindustry operational safety regulations at handling operations and cargo stowage. | POT RM-007-98 |
| 3 | Interindustry operational safety regulations at altitude operations. | POT RM-012-2000 |

### GOST Standards List

| № | Designation | Document name |
| --- | --- | --- |
| 1 | GOST 11611-82 | Metal inserts for plain bearing split housings. Design and dimensions. |
| 2 | GOST 11823-91 | Back valves for nominal pressure PN <25 МPa (250 kg/cm2). General specifications. |
| 3 | GOST 23866-87 | Single-seat, double-seat and cellular control valves. |
| 4 | GOST Р 12.2.001-2003 | Construction, road and earth-moving machines. General safety requirements. |
| 6 | GOST 12.2.118-88 | Shears. |
| 7 | GOST 12344-2003 | Alloy and high-alloy steel. Method of carbon determination. |
| 8 | GOST 12532-88 | Direct-acting safety valves. Main parameters. |
| 9 | GOST 12815-80(СТSEV 324981, СТ SEV 3250-81,СТ SEV 3241-81)- GOST 12822-80 | Valve, fitting and pipeline flanges. |
| 10 | GOST 13547-79 | Disk shutters at РУ up to 2.5 MPa |
| 11 | GOST 14202-69 | Industrial enterprises pipeline. Episematic coloration, warning signs and marking panels. |
| 12 | GOST 15.005-86 | Product single-part and small-lot production and erection on place of operation. |
| 13 | GOST 15180-86 | Flat elastic gaskets. Main parameters and dimensions. |
| 14 | GOST 16587-71(СТ SEV 3250-81) | Safety valves, control valves and pressure regulators. |
| 15 | GOST 17379-2001 (ISO 3419-81) | Seamless welded pipeline parts of carbon steel. Elliptical plugs. Design. |
| 16 | GOST 18088-83 | Metal-cutting, diamond, wood-cutting, hand and auxiliary tools. Packing, marking, transportation and storage. |
| 17 | GOST 18338-73 | Tote-box and shelves. Terms and definitions. |
| 18 | GOST 18572-81 (СТ SEV 1475-78)_ | Roller bearings with cylindrical rollers for railway vehicles trailing. Basic dimensions. |
| 19 | GOST 18854-94 (ISO 281-89) | Frictionless bearings. Static load capacity. |
| 20 | GOST 18855-94 (ISO 281-89 | Frictionless bearings. Dynamic rated load capacity and rated life (durability). |
| 21 | GOST 20295-85 | Steel pipes for main gas-oil pipelines. Specifications. |
| 22 | GOST 20448-90 | Hydrocarbon liquefied fuel gas for residential use. Specifications. |
| 23 | GOST 21140-88 (СТ SEV 227-87) | Tare. Dimension system. |
| 24 | GOST 21.206-93 | Reference designation of pipelines. |
| 25 | GOST 21646-2003 | Copper and brass pipes for heat-exchange apparatus. Specifications. |
| 26 | GOST 21963-2002 (ISO 603-15-99; ISO 603-16-99) | Cutoff disks. Specifications. |
| 27 | GOST GOST 520-2002 (ISO 492-94, ISO 199-97) | Frictionless bearings. General specifications. Interstate standard. |
| 28 | GOST 977-88 | Steel casting. General specifications. |
| 29 | GOST 2715-75 | Wire mesh. Types. Main parameters and dimensions. |
| 30 | GOST 3262-75 | Water-gas supplying steel pipes. Specifications. |
| 31 | GOST 3326-86 | Shutoff valves, check valves and gates. Face-to-face dimensions. |
| 32 | GOST 5398-76 | Pressure-suction rubber sleeves with textile carcass, unreinforced. |
| 33 | GOST 5762-74 | Gate on conditional pressure Рv<25 MPa (250 kg/cm2). General specifications. |
| 34 | GOST 6032-89 | Corrosion-proof steel and alloys. Resistance against intercrystalline corrosion test methods. |
| 35 | GOST 6032-2003 (ISO 3651-1:1998, ISO 3651-2:1998) | Corrosion-proof steel and alloys. Resistance against intercrystalline corrosion test methods. |
| 36 | GOST 7006-72 | Protective cable servings. Design and types, technical requirements and testing methods. |
| 37 | GOST 7566-94 | Metal production. Taking-over, marking, packing, transportation and storage. |
| 38 | GOST8509-93 | Hot-rolled steel angle bars. Assortment. |
| 39 | GOST 8908-81 (СТ SEV 178-75 и СТ SEV 513-77) | Normal angles and angle tolerances. |
| 40 | GOST 9064-75* | Nuts for flange connections with medium temperature from 0 to 650º С. Types and basic dimensions. |
| 41 | GOST 9065-75* | Washers for flange connections with medium temperature from 0 to 650º С. Types and basic dimensions. |
| 42 | GOST 9066-75* | Studs for flange connections with medium temperature from 0 to 650º С. Types and basic dimensions. |
| 43 | GOST 9150-2002 (ISO 68-1-98) | Basic interchangeability norms. Metric thread. Cross-section. |
| 44 | GOST 9544-93 | Pipeline stop valves. Gate tightness norms. |
| 45 | GOST 9697-87 | Shutoff valves. Basic parameters. |
| 46 | GOST 9698-86 | Gate valves. Basic parameters. |
| 47 | GOST 2.785-70 | Graphic reference designation. Pipeline valves. |
| 48 | GOST 22309-77 | Pipeline valves. Electric drives. Basic parameters. |
| 49 | GOST 23118-99 | Interstate standard. Building steel constructions. General specifications. |
| 50 | GOST 24297-87 | Incoming production inspection. General provisions. |
| 51 | GOST 25106-82 | Friction bearing bodies. Separable and non-separable. Technical requirements. |
| 52 | GOST 25136-82 | Pipeline connections. Leakage test methods. |
| 53 | GOST 27477-87 | Back valves. Basic parameters. |
| 54 | GOST 27303-87 | Steam boilers and hot-water boilers. Taking-over procedure after erection. |
| 55 | GOST 27772-88 | Rolled stock for building, steel constructions. General specifications. |
| 56 | GOST 28012-89 | Mobile collapsible scaffold. Specification. |
| 57 | GOST 28296-89 (СТ SEV 6555-88) | Column cranes. Safety requirements. |
| 58 | GOST 28908-91 | Globe valves and disk shutter. |
| 59 | GOST 30513-97 | Abrasive tool and diamond tool. |
| 60 | GOST 30893-2002(ISO 2768-2-89) | Basic interchangeability norms. Overall tolerances. Form and surfaces location tolerances, individually not specified. |
| 61 | GOST 3.1201-85 | Uniform system of process documentation. System of notation of process documentation. |
| 62 | GOST 8.563.1-97 | Diaphragms. Nozzles ISA 1932 and Venturi tubes, installed in filled circular cross-section pipelines. Specifications. |
| 63 | GOST 8.563.2-97 | Metering methods with restriction devices. |
| 64 | GOST 8.563.3-97 | Calculation procedure and module. Software. |
| 65 | GOST 9.014-78 | Uniform system of corrosion and ageing protection. Short-term anticorrosive protection of products. General requirements. |
| 66 | МКС 25.220 Т95 Group | Alteration № 6 GOST 9.014-78. -//- -//- -//- -//- |
| 67 | GOST 21.602-2003 | Implementation of working documentation on heating, ventilation and air conditioning. |
| 68 | GOST 11150-84 | Metals. Tension test method at reduced temperatures. |
| 69 | GOST 16148-79 | Wooden boxes for frictionless bearings. Specifications. |
| 70 | ISO 4310-81 | Cranes. Test methods and regulations. |
| 71 | GOST 9467-75 | Sheeted electrodes, metallic for manual arc welding of construction and thermoresistant steel. |
| 72а | GOST 9466-75 | Sheeted electrodes, metallic for manual arc welding of construction and thermoresistant steel. |
| 73 | GOST 10052-75 | Sheeted electrodes, metallic for manual arc welding of high-alloy steel with special features. |
| 74 | GOST R 50779.71-99 (ISO 2859.1-89) | Sampling inspection procedures on alternative basis. Sampling inspection plans of sequential batches on basis of acceptable quality level (AQL). |
| 75 | GOST R 52381-2005 | Abrasive materials. Abrasive grit and compound of abrasive discs. |
| 76 | GOST 31274-2004 (ISO 3741:1999) | Machine noise. Sound capacity determination by means of sound pressure. Exact methods for reverberation chambers. |
| 77 | GOST 27405-2004 (ISO 724:1993) | Metric thread. Basic interchangeability norms. Basic dimensions. |
| 78 | GOST 30242-97 | Welding defects at fusion welding. |
| 79 | GOST 31273-2003 (ISO 3745:2003) | Machine noise. Sound capacity determination by means of sound pressure. Exact methods for soundproof chambers. |
| 80 | GOST 5-78 | Construction textolite and asbestos-textolite. |
| 81 | GOST 1497-84 (ISO 6892-84, СТ SEV 471-88) | Metals. Tension test methods. |
| 82 | GOST 1577-93 | Thick plate steel and wide strip steel rolled stock made of construction quality steel. |
| 83 | GOST 8732-58 | Seamless hot-rolled steel tubes. |
| 84 | GOST 8966-75 | Connection steel parts with straight thread for pipelines Р=1,6 MPa. Straight pipe couplings. Basic dimensions. |
| 85 | GOST 9651-84 (ISO 783-89) | Metals. Tension test method at high temperatures. |
| 86 | GOST 9.402-2004 | Paint coat. Uniform system of corrosion and ageing protection. Metal surfaces preparation to painting. |
| 87 | GOST 11196-74 | Levels with micrometer feed of ampoule. Specifications. |
| 88 | GOST 12622-78 | Unbeaded flat bottoms. |
| 89 | GOST 12623-78 | Beaded flat bottoms. |
| 90 | GOST 15982-70 | Levels with micrometer feed of ampoule. |
| 91 | GOST 2.785-70 | Graphic reference designations. Pipeline valves. |
| 92 | GOST 24379.1-80 | Foundation bolts. General specifications. Design and dimensions. |
| 93 | GOST 4666-75 (СТ SEV 4369-83) | Pipeline valves, marking and distinctive painting. |
| 94 | GOST 1320-74 (ISO 4383-91) | Tin and lead babbits. |
|  |  | Metals and alloys. Vickers hardness test method. |

Specifications

| № | Designation | Document name |
| --- | --- | --- |
| 1 | TU 14-1-1950-89 | Sheet products made of low-alloy steel grade 17G1S-U and 16G2S for longitudinal tube. |
| 2 | TU 14-3Р-55-2001 | Seamless steel tubes for steam boilers and pipelines. |
| 3 | TU 14-3-190-82 | Seamless steel tubes for boiler installations and pipelines. |
| 3а | TU 14-3-190-2004 | Seamless steel tubes for boiler installations and pipelines. Specifications. |
| 4 | TU 14-3-460-2003 | Seamless steel tubes for steam boilers and pipelines. |
| 5 | TU 14-3-1636-89 | Steel tubes with double-sided glass-enamel coating for heat network. |
| 6 | TU 24.09.785-00 | Gear and lever hand hoist with lifting capacity 0.5; 1.0; 2.0; 3.2 t. |
| 7 | TU 24.22.5912-02 | Specifications for overhaul reconditioning, fabricating (particular elements), reconstruction and mounting of erecting cranes with application of welding. |
| 8 | TU 24.22.5912КрП-02 | Gantry rail repair of bridge, gantry and semigantry cranes. Specifications. |
| 9 | TU 26-06-1186-78 | General technical requirements for overhaul repair of non-positive displacement pumps. Technical requirements. |
| 10 | TU 3178-002-12573741-2002 | Mounting blocks. Specifications. |
| 11 | TU 34 10.1202-97 | Carbon steel and low-alloy steel products for heat power station pipelines. Specifications. |
| 12 | TU 34-38-20048-78 | Pump 2K-6. Specifications for repair. |
| 13 | TU 34-38-20049-96 | Pumps 2K-6; 4K-12. Specifications for repair. |
| 14 | TU 34-38-20069-96 | Pumps 6K-8; 6K-12. Specifications for repair. |
| 15 | TU 34-38-20071-96 | Pumps 8K-12; 8K-18. Specifications for repair. |
| 16 | TU 34-38-20074-96 | Pumps D 6300-27, D 4000-22. Specifications for repair.. |
| 17 | TU 34-38-20092-94 | High pressure surface heaters for steam turbine regeneration systems. Specifications for overhaul repair. |
| 18 | TU 34-38-20112-96 | Rotary pumps D2500-62 (18NDs) and D5000-32 (24NDd). Specifications for overhaul repair. |
| 19 | TU 34-38-20116-95 | Rotary pumps D500-65 (10D6-60), D800-57 (12D-9), D1200-65 (10NDs6-60). Specifications for overhaul repair. |
| 20 | TU 34-38-20120-94 | Stationary pipelines of heat power stations. General specifications for overhaul repair. |
| 21 | TU 34-38-20127-95 | Smoke exhauster DN-26х2-0,62. Specifications for overhaul repair. |
| 22 | TU 34-38-20130-94 | Low pressure surface heaters for steam turbine regeneration systems. Specifications for overhaul repair. |
| 23 | TU 34-38-20132-94 | Drums of stationary steam boilers. Specifications for overhaul repair. |
| 24 | TU 34-38-20133-95 | Blowers VDN-26 Pu, VDN-32B. Specifications for overhaul repair. |
| 25 | TU 34-38-20135-94 | Tubular air heaters of stationary boilers. Specifications for overhaul repair. |
| 26 | TU 34-38-20140-94 | Gas pipeline valves of heat power station. General specifications for overhaul repair. |
| 27 | TU 34-38-20141-94 | Regenerative rotary air heaters RVP-54, RVP-68. Specifications for overhaul repair. |
| 28 | TU 34-38-20184-94 | Stationary steam boilers. Intra-drum separation equipment. Specifications for overhaul repair. |
| 29 | TU 34-38-20185-95 | Motors with voltage up to 1000 V capacity from 0.1 to 100 KW. General specifications for overhaul repair. |
| 30 | TU 34-38-20188-94 | Frameworks, stairways and galleries of stationary boilers. General specifications for overhaul repair. |
| 31 | TU 34-38-20189-94 | Oil-gas burners of steam stationary boilers. Specifications for overhaul repair. |
| 32 | TU 34-38-20191-94 | Stationary boilers fittings. General specifications for overhaul repair. |
| 33 | TU 34-38-20195-94 | Mazut heaters types PN and PMR. Specifications for overhaul repair. |
| 34 | TU 34-38-20196-94 | Steam-water superheaters, water-to-water heat exchangers. Specifications for overhaul repair. |
| 35 | TU 34-38-20197-94 | Steam and water gates Du 10, 20, 40, 50, 65 mm manufactured by Chehov plant of power machine building. Specifications for overhaul repair. |
| 36 | TU 34-38-20201-94 | Stationary steam boilers. Pipeline within the boiler. General specifications for overhaul repair. |
| 37 | TU 34-38-20202-94 | Stationary steam boilers. Manifolds. General specifications for overhaul repair. |
| 38 | TU 34-38-20212-94 | Stationary steam boilers type K (DKVR). Specifications for overhaul repair. |
| 39 | TU 34-38-20227-84 | Stationary steam boilers. Radiation and convection heating surfaces. |
| 40 | TU 34-38-20228-84 | Stationary steam boilers. Radiation and convection heating surfaces. Specifications for overhaul repair. |
| 41 | TU 34-38-20229-84 | Stationary steam boilers. Radiation and convection heating surfaces. Specifications for overhaul repair. |
| 42 | TU 34-38-20230-94 | Stationary steam boilers. General specifications for overhaul repair. |
| 43 | TU 34-38-20234-84 | Steam turbine Т-50/60-130 TMZ. Specifications for overhaul repair. |
| 44 | TU 34-38-20238-95 | Steam turbine Т-100/130 TMZ. Specifications for overhaul repair. |
| 45 | TU 34-Ukraine 1406.4914.002-93 | Steam turbine R-100-130/15 (R 102107-130/15-2) PO TMZ. Specifications for overhaul repair. |
| 46 | TU 34-38-20241-95 | Steam turbine PT-60/75-130/13 LMZ. Specifications for overhaul repair. Turbine cylinders. |
| 47 | TU 34-38-20246-95 | Turbogenerators. General specifications for overhaul repair. |
| 48 | TU 3438-20288-85 | Condensate pumps KсВА-125, KсВА500-220, KсВА360-160, KсВА320-210, KсВА200-220. Specifications for overhaul repair. |
| 49 | TU 34-38-20308-95 | Condensate pumps type KC with supply of 32-80 m3/hour. Specifications for overhaul repair. |
| 50 | TU 34-38-20309-95 | Condensate pumps type KC with supply of 125-230 m3/hour. Specifications for overhaul repair. |
| 51 | TU 34-38-20312-95 | Rotary pumps D2000-21 (16NDd), D2000-100(20D-6), Д2000-62 (18NDs), D3200-33(20NDd), D3200-75(20NDs). Specifications for overhaul repair. |
| 52 | TU 34-38-20321-95 | Direct current electrical machine. General specifications for overhaul repair. |
| 53 | TU 34-38-20322-95 | Draught equipment. Specifications for overhaul repair. |
| 54 | TU 34-38-20342-95 | Back valves type “KOC”. Specifications for overhaul repair. |
| 55 | TU 34-38-20346-95 | Steam turbine PT-60/75-130/13 LMZ. Regulating system. Specifications for overhaul repair. |
| 56 | TU 34-38-20354-95 | Network pump SE2500-60-11. Specifications for overhaul repair. |
| 57 | TU 34-38-20362-95 | Pumps PE 560-185-3, PE560-195. Specifications for overhaul repair. |
| 58 | TU 34-38-20365-87 | Power valves. General specifications for overhaul repair. |
| 59 | TU 34-38-20383-95 | Network pump SE 1250-140-11. Specifications for overhaul repair. |
| 60 | TU 34-38-20395-95 | Blowers VDN32B, VDN-28, VDN-25, VDN-24, VDN-22, VDN-20, VDN-18. Specifications for overhaul repair. |
| 61 | TU 34-38-20401-96 | Steam turbine PT-135/165-130/15 TMZ. Specifications for overhaul repair. |
| 62 | TU 34-38-20408-94 | Shutoff gate valve for steam and hot water D 100-500 mm by Chekhov plant of power machine building. General specifications for overhaul repair. |
| 63 | TU 34-38-20409-94 | Pulse-protecting device by Chekhov plant of power machine building. General specifications for overhaul repair. |
| 64 | TU 34-38-20410-95 | Control valves D10, 20, 50, 65 mm. Specifications for overhaul repair. |
| 65 | TU 34-38-20411-95 | Control valves and throttle valves D 100-350 mm. Specifications for overhaul repair. |
| 66 | TU 34-38-20412-95 | Shutoff throttle valves D 100/150, 150/250, 200/250 mm. general specifications for overhaul repair. |
| 67 | TU 34-38-20413-95 | Back valves D 100-400 mm. General specifications for overhaul repair. |
| 68 | TU 34-38-20414-96 | Steam turbine R-50-130/13-1 LMZ. Turbine cylinders. Specifications for overhaul repair. |
| 69 | TU 34-38.20415-96 | Steam turbine R-50-130/13-1 ЛМЗ. Regulating system. Specifications for overhaul repair. |
| 70 | TU 38.105823-88 | Rubber products for GAZ, KAMAZ and other makes. Specifications for overhaul repair.Технические условия. |
| 71 | TU 4835-006-00110467-00 | Traction mounting mechanism МТМ-3,2. |
| 72 | TU 5728-002-13267785-99 | Sealing rings MTM made of graphite material “Graflex”. Specifications. |
| 73 | TU 5728-004-13267785-99 | Sealing ring sets for tightening housing with floating power valve cover and high pressure vessels. Specifications. |
| 74 | TU 5728-008-13267785-99 | Armoured sealing rings KGF made of graphite material “Graflex”. Specifications. |

### OST List

| № | Designation | Document name |
| --- | --- | --- |
| 1 | OST 24.125.100-01-OST 24.125.107-01; OST 24.125.109-01-OST 24.125.128-01; OST 24.125.130-01. | Stationary and turbine pipeline hangers of heat and nuclear power plants. |
| 2 | OST 24.560.01 | Flange connections. Toothed steel gaskets. |
| 3 | OST 34-10-610-93-OST 34-10-623-93 | Stationary pipeline supports and hangers with ambient parameters Рwork<2.2MPa and twork<4250С made of unified parts. Movable and immovable supports. Types and basic dimensions. |
| 4 | 34-10-724-93-OST 34-10-733-93 | Assembly units and stationary pipeline hanger parts Рwork<2.2 MPa HPS, NPS and dust-gas-air lines of HPS. Design and dimensions. Part 1. |
| 5 | OST 34-10-739-93 | Thread rods with coupling. |
| 6 | OST 34 10.747-97 | Parts and assembly units of HPS pipelines at Рwork<2.2MPa (22kgf/cm2), t<4250С. Tubes and roll stock. Assortment. |
| 7 | OST 34-10-748-92 | Butt welded joints. Types, structural components and dimensions. |
| 8 | OST 34 10.750-97 | Bends. Design and dimensions. |
| 9 | OST 34 10.751-97 | Return bends. Design and dimensions. |
| 10 | OST 34-10-758-92 | Flat weld plugs. Design and dimensions. |
| 11 | OST 34-10-759-92 | Flat ribbed weld plugs. Design and dimensions. |
| 12 | OST 34-13-915-85 | Erecting cranes. Mounting. Technical requirements. |
| 13 | OST 34-38-567-87 | Maintenance and power station equipment repair system. |
| 14 | OST 34-38-918-94 | Spare parts for running power station equipment. General specifications. |
| 15 | OST 34-42-560-82 | Cylindrical vertical tanks. Types and basic dimensions. |
| 16 | OST 34-42-569-82 OST 34-42-570-82 OST 34-42-571-82 OST 34-42-572-82 | one-lens two-lens Axial-flow three-lens compressor four-lens |
| 17 | OST 34-42-755-85 | Flat weld flanges with sockets at Рv <2.5MPa(25kgf/cm2) Dv from 600 to 1600 mm. Design and dimensions. |
| 18 | OST 108.764.01-80 | Cylindrical spiral springs for pipeline hangers of HPS and NPS. Design, dimensions and technical requirements. |
| 19 | OST 34-38-445-87 | Maintenance and power station equipment repair system. |
| 20 | OST 34-42-755-85-OST 34-42-761-85 | Parts and assembly units of carbon steel and low-alloy steel at Рwork 2,2MPa(22kgf/cm2), t4250С . For heat power stations. |
| 21 | OST 26 291-94 | Steel weld vessels and apparatus. |
| 22 | OST 34.10.757-97 | Parts and assembly units of HPS pipelines at Рwork<2,2MPa, t ≤ 4250 C Puller bolts. Design and dimensions. |
| 23 | OST 34-10-723-93 | Assembly units and stationary pipeline hanger parts Рwork<2.2 MPa HPS, NPS and dust-gas-air lines of HPS. General technical requirements. |
| 24 | OST 153-39.3-051-2003 | Technical maintenance of gas distribution system. General provisions. Gas distribution networks and gas equipment of buildings. Tank and gas bottle stations. |
| 25 | OST 34-10-426-90 | Parts and assembly units of NPS pipelines at Рwork<2,2MPa(22kgf/cm2), t ≤ 3000С. Flat ribbed weld flanges. Design and dimensions. |
| 26 | OST 34-10-756-92 | Flange connections for chamber measuring diaphragms. Рy ≤ 2,5MPa(25kgf/cm2). Design and dimensions. |
| 27 | OST 34 10.699-97 OST 34 10.700-97 OST34 10701-97 | Steel seamless weld pipeline elements at Рwork<2,2MPa (22kgf/cm2) |
| 28 | OST 34-10-416-90 ÷ OST34-10-419-90 | Parts and assembly units of corrosion-resistant steel Рwork<2,2MPa(2,2kgf/cm2),t ≤ 3000C for NPS. |
| 29 | OST 34-10-724-93 | Weld hanger block for horizontal pipelines. |
| 30 | OST 34-10-729-93 | Hanger block with lug. |
| 31 | OST 34-10-733-93 |  |
| 32 | OST 34-10-726-93 | Hanger block with support beam. |
| 33 | OST 34-10-739-93 | Thread rods with coupling |