| Переводчик: | Боровикова Ульяна Викторовна © |
| --- | --- |

Оригинал:

Перевод:

Pic.1 Installation diagram for researching the iron withdrawal from water:

Table 1. Source  water  characteristics

| Indicator name | Value | Sanitary Regulations and Norms |
| --- | --- | --- |

Chromaticity, gradation

Smell, mark

Alkalinity, mg-equ/l

Hardness, mg-equ/l

Salinity, mg/l

Opacity, mg/l

Total Ferrum (mainly bivalent), mg/l

Manganese, mg/l

Hydrogen sulfide (sulphides)

Methane, mg/l

Pic.2 Relation of iron quantity while discharging water via screening filter elements:

1 – copper  Polymethylsiloxane; 2 – copper-based highly porous cellular materials; 3 – nickel electrolytic powder-1; 4 – titan powder TPP; 5 – Bronze BROF-10-1; 6 – X18H10 steel.

Pic.3 Relation of purification via copper powder filter material and oxygen discharge intensity for water aeration 7 m3/h

Pic. 4 	Kinetics of catalysed and non-catalysedFe2+ oxidation: 1 – non-catalyzed4 2 – catalysed (copper ions)

Pic.5 Filter material structure: a – porous titan; b - highly porous cellular materials

Results of testing of deironing filter material samples

| Material name | highly porous cellular materials’ thickness, mm | Ti PPM pore size, µm | Filtrate iron concentration, mg/l |
| --- | --- | --- | --- |

Pic.6 	Construction diagram for deironing: 1 - 	aeration chamber; 2 – aerators; 3 – catalytic load filter;

4 – pressure contact filter; 5 – two-layer porous filter element