Автоматическая герметичная система «Валор»

| Valor H automation for doors with seals, where the wing provides for partial seal (on 2 sides), with a specially designed guard. Valor HS this automation is similar to the previous one, but with greater carrying capacity. Valor HH this automation is hermetically sealed on all four sides, and the wing – on closing – drops and slides to compress the seal against the jamb along the perimeter Super silent operation All versions feature super silent operation, thanks to the anti-vibration seals, making them ideal for environments where comfort, silence and a warm welcome are indispensable and fundamental requirements. Maximum hygiene The rounded guard and the screwless visible heads prevent dust from building up, making cleaning easy. Electrostatic energy that may have accumulated on the moving wings is permanently discharged, thus avoiding the build-up of dust too. Automatic doors must guarwingse freedom of movement in absolute hygiene and safety both for patients and healthcare workers, avoiding manual contact with the actual doors. The entire Valor H range accommodates these needs fully. Maximum safety The motion detectors can be built into the automation and concealed. Consequently, they prevent the classic build-up of dust on elements outside the guard. They also ensure protection not only of the passing space but also in the side opening movement of the wings, avoiding accidental knocks with unforeseen obstacles. They are indispensable when stretchers and wheelchairs are passing and may not be detected by traditional photocells. Maximum capacity The capacity of the HS version makes it possible to automate heavy wings. They are especially suitable for the radiology sector where X-ray screened wings are required, with lead protection which makes for very heavy doors. Maximum availability of finishes Valor automatic entrances are available in all RAL colours, in anodised finishes (from natural silver to polished titanium) with panels surfaced in HPL laminate in the Abet/Print range of colours. Valor HS and HH can also be equipped with AISI 304 stainless steel guards in Scotch Brite finish. DITEC sliding doors: Automation, dedicated frames and accessories Pam H60 A/B/C HPL laminate and AISI 304 stainless steel laminate panels Wing for sliding door consisting of rounded extruded aluminium frame and panel. Wing thickness 60 mm with non-toxic silicon perimeter seals. The external profile is perfectly flush fitting and sealed with non-toxic silicon. The internal panel consists of a sandwich of two HPL laminate plates, plus two 5 mm thick MDF class 1 fireproof panels and an extruded high-density selfextinguishing polyester sheet. The panel can be surfaced with melamine laminate or AISI 304 stainless steel laminate in Scotch Brite finish. Pam H60 A/B Stainless steel frame Wing for sliding door made entirely of press-formed AISI 304 satin stainless steel in Scotch Brite finish, 60 mm thick, featuring a very wide radius and non-toxic silicon perimeter seals. The interior of the wing is reinforced with polyurethane foam. The frame is made of AISI 304 satin stainless steel in Scotch Brite finish to cover the ridge of the sliding doors. The frame has a U-section, which also features a very wide radius, and is made in three pieces. Pam H60 C Framed wing with double glazing Wing for sliding door consisting of rounded extruded aluminium frame and double glazing. Wing thickness 60 mm with non-toxic silicon perimeter seals. The wing profile is equipped with a purpose-designed adapter which allows for the glazing to be fitted and clicked and secured in place with purpose-provided glazing beads. The dimensions envisaged are accomplished using two plates of 3+3 transparent laminated accident-proof glass 3+3 with an intermediate chamber of 20 mm. A - Can be fitted with a round or rectangular window. The window is fully flush fitted into the wing and sealed with non–toxic silicon injected all around the perimeter. B - Can be constructed with 1, 2 or 3 mm lead strips for X-ray screening and a handle to move the wing. C - The sliding door frame is made of rounded extruded aluminium on three sides of the compartment to achieve a wall thickness of a minimum of 80 mm where photocells can also be housed. | Типы системы Валор: Валор H – автоматичекая система с частичной герметичостью (уплотнители с двух сторон). Автоматическая система для дверей герметичных по вертикали и частично герметичных по горизонатли. Валор HS – идентичная первой автоматическая система, но с большой грузоподьемностью (для тяжелых дверей) Валор HH – автоматическая полностью герметичная система (уплотнители с четырех сторон, по всему периметру двери) Общие характеристики: - Все типы оснащены анти-вибрационным механизмом, что позволяет создавать бесшумную атмосферу. - Конструкция не позволяет накапливаться пыли, труднодоступные места лего поддаются чистке. Электростатичекое напряжение постоянно разряжается, что также предотвращает накапление пыли. - Детекторы движения встроены в автоматическую систему и реагируют на любой приближающийся объект. - Системы Валор доступны в разных цветах RAL, с разными анодированными покрытиями (натуральное серебро, полированный титан и т.д.). Системы Валор HS и HH также могут быть оборудованы защитой из нержавеющей стали. DITEC раздвижные система (профили, трек и акссесуры для автоматической герметичной двери Системы Валор): (A/B/C) Pam H60 – крыло раздвижной двери состоит из экструдированной алюминевой раммы. Крыло имеет толщину 60 мм. с нетоксичными силиконовыми уплотнителями по всему периметру. Внутренняя панель состоит из двух пластин ламината HPL, двух огнестойких панелей MDF класса 1, толщиной 5 мм. каждая, и из экструдированого, высокоплотного, огнеупорного полиэстрового щита. Панель также может быть покрыта меламиновым ламинатом или же нержавеющей сталью AISI 304. (A/B) Pam H60 – Крыло раздвижной двери полностью сделаны из прессованой нержавеющей стали AISI 304 с зеркальной отделкой Scotch Brite. Крыло имеет толщину 60 мм., с использованием нетоксичных силиконовых уплотнителей по всему периметру. Внутренняя часть крыла усилена полиуретановой пеной. (С) Pam H60 – крыло раздвижной двери состоит из экструдированной алюминевой раммы и двойного стекла. Крыло имеет толщину 60 мм., с использованием нетоксичных силиконовых уплотнителей по всему периметру. Остекление состоит из двух прозрачных, ламинированных, высокопрочных стекл толщиной 6 мм. каждое, с промежуточной камерой 20 мм. между ними. A – дверь может быть оснащена круглым или же прямоугольным стеклом. Окно герметично и имеет нетоксичные силиконовые уплотнители по всему периметру. В – дверь может быть оснащена направляющими полосками толщиной 1,2,3 мм. специально для рентгеновского обследования, а также ручкой для ручного передвижения крыла. С – толщина стен для установки раздвижной систмы должна быть минимум 80 мм., для расположения фотоэлементов . |
| --- | --- |